Part 1  General Description

  - Project Overview:

    - Installation of water filtration unit.

  - Site Location:

    - SWEF # 21 is located on westbound I-94, mm 349, approximately one-half mile north of the Illinois and Wisconsin border in Kenosha County.

  - Submittals

.3.1  	Provide manufacturers’ specification sheets and product manuals.

  - Quality Assurance

    - Perform work according to manufacturer’s guidelines and specifications and local, state and federal codes

  - Warranty

    - A one-year warranty for defective workmanship and/or replacement of defective materials on the project is required in addition to any warranties provided automatically by the product manufacturers’.

Part 2  Products

  - Acceptable Manufacturer(s)

    - US Filter Corporation

    - Harmsco

    - Or approved equal

  - Products

    - Bag style water filter for 25 micron particulates.

    - Necessary piping, valves and gauges.

Part 3 Installation

  - Method of Installation

    - Install water filter unit with bypass piping and valves.  Use ball valve only.  Follow manufacturer’s instruction and guidelines.  Assure installation meets code.

  - Cleaning of Work Areas

    - Leave all work areas broom clean.  All surplus or waste materials shall be disposed of off-site.

Part 4 Acceptance

  - Project Acceptance

    - All work must be completed to the satisfaction of WisDOT and/or its project advisor.

    - Provide two (2) sets of operating manuals and any/all warranties to Project Advisor.

    - Provide one dozen bag filters to site and bag ordering information.