## Slide 1: American Transmission Company Mount Pleasant Tech Interconnection Project (Supporting Foxconn)
David Hollenberger
February 20, 2019

## Slide 2: Agenda
Introduction – David
Who is American Transmission Co. (ATC)?
Mount Pleasant Tech Interconnection Project
Landowners & real estate
Q&A
Notes: David will give a quick overview of agenda

## Slide 3: Who is American Transmission Co.?
Notes: We’re in the process of finalizing three completely new ads but meanwhile - here is another, newer alternative to the one embedded: https://www.youtube.com/watch?v=dyDDx-C9tRo&t=1s

## Slide 4: American Transmission Co.
ATC was formed in 2001
Transmission-only electric utility, headquartered in Pewaukee, WI
Service area covers central and eastern WI, U.P. and portions of IL and MN
Owns and operates over 9,600 miles of transmission lines and 560 substations
In the past 10 years ATC has upgraded more than 895 miles or transmission lines and built 367 miles of new transmission lines
Notes: David
Over the past ten years, we have:
upgraded more than 895 miles of transmission line,
improved 105 electric substations,
built 25 new transmission lines (367 miles)
connected 1,980 MW of new generation at 12 sites,
  Includes 430 MW of renewable generation at 6 sites
saved customers more than $100 million a year in reduced energy costs with access to the marketplace and lower line losses,
increased import and export capability, and
improved transmission reliability.

## Slide 5: ATC Service Territory

## Slide 6: Foxconn Technology Group
Global leader in manufacturing services for the computer, communication and consumers electronics industry
Current facilities in Asia, Europe and Latin America
Forthcoming facility in Mount Pleasant, Wis. – advanced display manufacturing campus comprised of multiple buildings to produce liquid crystal display (LCD) panels for various industries.

## Slide 7: What does this mean for ATC?
Electric load required for Foxconn’s operations will be the largest load connected to ATC’s transmission system at a single substation
Initial electric load estimated at 200 megawatts, but line designed at 230 MW to accommodate anticipated regional economic growth
Power used by Foxconn at full capacity will be enough to power approximately 150,000 households

## Slide 8: ATC Location to Foxconn
ATC

## Slide 9: Connection with Foxconn
Mount Pleasant Tech
Interconnection Project
Foxconn connection will be to an existing 345kV line

## Slide 11: Project components
A second transmission line circuit along an existing 12-mile, 345-kilovolt transmission line,
Two new double-circuit, 1.2-mile-long 345-kV transmission lines,
A new substation near the Foxconn campus,
Modifications at the Racine and Elm Road substations, Pleasant Prairie switchyard and
Four underground 138-kV transmission lines to electrically connect the new ATC substation to the Foxconn-owned substation.

## Slide 12: Unique challenges of this project
Unprecedented, compressed duration to prepare and file regulatory application
Prior to PSC approval:
  Install underground vaults
  Finalize design engineering
  Procure materials
Significant level of coordination with other infrastructure initiatives supporting the development, including local and state entities overseeing: water, roads, sewer, natural gas and others

## Slide 13: Project schedule
Approval from PSC: August 2018
Start substation construction: September 2018
Major Deliveries: March, April, and May 2019
Start transmission line construction: February 2019
Project in-service: December 2019
Project cost: $117 million

## Slide 14: Construction Photos – in the beginning….

## Slide 15: Early grading for water retention and storage

## Slide 16: South half of substation

## Slide 17: North half of substation

## Slide 18: Substation as of end of the year
Foxconn Site
ATC Substation

## Slide 19: ATC and Foxconn working together
Foxconn Site
ATC Substation

## Slide 20: Geeky Facts about the Substation
33 Acres purchased for Electrical substation, 3 retention ponds and future We Energies substation
Over 168,000 linear feet of electrical conductor – about 32 miles
Over 18,000 linear feet of specialty underground conductor to connect ATC power to Foxconn
Over 5300 cubic yards of concrete for foundations

## Slide 21: Landowners & real estate
Minimal landowners impacted in this project - (1.2 miles new right-of-way, 2 private landowners)
Landowner preference for preferred route
ATC local relations and real estate representatives worked directly with landowners
Acquisitions followed Chapter 32 of WI Statutes

## Slide 22: Questions

## Slide 23: ATC Contacts
ATC website: atcllc.com
Barbara Mikolajczyk, Major Project Manager bmikolajczyk@atcllc.com
  262-506-6804
  David Hollenberger, Manager Real Estate
  dhollenberger@atcllc.com
  262-832-8625