Use this when there is a detail in the plan for the bypass. Coordinate with storm water engineer before using.

1. Temporary Bypass Channel, (Structure), Item SPV.0105.##

A Description

This special provision describes providing a temporary bypass channel for the drainage way through structures the bid items designate. The contractor may propose other alternatives for a temporary bypass channel as long as the proposed alternative is outlined in the ECIP. Materials used for alternative proposals are incidental to this item.

B Materials

Construct temporary bypass channel conforming to the details provided in the plan. Provide polyethylene sheeting conforming to standard spec 628.2 and provide select crushed material conforming to standard spec 312. Submit stockpile gradation test result prior to placement.

C Construction

Construct temporary bypass channel conforming to standard spec 205.3 and 628.3. Maintain channel flow at all times and minimize erosion into the existing stream using appropriate erosion control measures.

D Measurement

The department will measure Temporary Bypass Channel (Structure) as a single lump sum of work acceptably completed.

E Payment

The department will pay for measured quantities at the contract unit price under the following bid item:

ITEM NUMBER DESCRIPTION UNIT

SPV.0105.## Temporary Bypass Channel (Structure) LS

Payment is full compensation for furnishing materials, any excavation required, hauling, placing all materials, including sand bags, polyethylene sheeting, anchors, and select crushed material, and for channel change removal.

ner-210-010 (20190712)