1. Adjusting Water Service Curb Stops, Item SPV.0060.##

A Description

This special provision describes adjusting existing water service curb stops to the required elevation.

B Materials

Utilize existing curb stops where the required extent of adjustment allows. If additional sections are necessary, coordinate with (insert Municipality name) and contact (insert contact name and phone number) to obtain required materials.

C Construction

The contractor is responsible throughout the duration of the project to ensure water service curb stops are located and identified in blue paint and that curb stops remain accessible to City of Manitowoc public works staff.

Adjust water service curb stops located within the proposed concrete sidewalk and turf areas to the proposed finished grade elevation. Exercise caution in working adjacent to curb stop facilities to avoid damage to the curb stops and ensure accessibility to the curb stops during construction.

D Measurement

The department will measure Adjusting Water Service Curb Stops by each individual unit acceptably completed.

E Payment

The department will pay for measured quantities at the contract unit price under the following bid item:

ITEM NUMBER DESCRIPTION UNIT

SPV.0060.## Adjusting Water Service Curb Stops EACH

Payment is full compensation for adjusting water service curb stops.

ner-900-010 (20190718)