{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Potential Utility Conflicts"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Potential Utility Conflicts","index":0,"n_rows":53,"n_cols":14,"rows_kept":53,"cut":false,"hidden":false,"merged":[]}
["Potential Utility Conflict #","General Location","Reference Alignment","Station","to","Station","Offset","Offset Distance","Offset Distance 2","Utility Type","Underground/Overhead/Pedestool/Hydrant/Valve","Utility Owner","Notes","In TLE/PLE/or FEE?"]
[1,"State Park Rd. Turn Lane Exstension","STH 114",27227,"-",27579,"RT",32,null,"FO","Underground","NSIGHT/Net-Lec","Check depth","No"]
[2,"State Park Rd. Turn Lane Exstension","STH 114",27583,"-",27679,"RT",40,null,"FO","Underground","NSIGHT/Net-Lec","Check depth","Partial"]
[3,"State Park Rd. Turn Lane Exstension","STH 114",27238,"-",null,"RT",40,null,"E","OH/PP","WE Energies-Electric","In Grading","On boundry"]
[4,"State Park Rd. Turn Lane Exstension","STH 114",27460,null,null,"RT",39,null,"E","OH/PP","WE Energies-Electric","In Grading, 1 guy","On boundry"]
[5,"State Park Rd. Turn Lane Exstension","STH 114",27671,null,null,"RT",40,null,"E","OH/PP","WE Energies-Electric","In Grading, 2 guys","On boundry"]
[6,"State Park Rd. Turn Lane Exstension","STH 114",27467,"-",27587,"RT",39,null,"FO","Underground","ATT","Check depth","On boundry"]
[7,"State Park Rd. Turn Lane Exstension","STH 114",27588,null,27588,"RT",12,null,"FO","Underground","ATT","Check depth","No"]
[8,"State Park Rd. Turn Lane Exstension","STH 114",27585,null,27585,"RT",12,null,"T","Underground","ATT","Check depth","Partial"]
[9,"State Park Rd. Turn Lane Exstension","STH 114",27467,null,27467,"RT",38,null,"FO","Vault","ATT","In Grading","On boundry"]
[10,"State Park Rd. Turn Lane Exstension","STH 114",27587,null,27587,"RT",39,null,"FO","Telephone Pedestool","ATT","In Grading","On boundry"]
[11,"State Park Rd. Turn Lane Exstension","STH 114",27688,"-",27688,"RT",27,null,"G","Underground","WE Energies-Gas","Check depth","Partial"]
[12,"State Park Rd. North","STH 114",27690,"-",28378,"LT",30,33,"G","Underground","WE Energies-Gas","Check depth, laterals at STAs 276+95, 280+52","Yes"]
[13,"State Park Rd. North","STH 114",27691,"-",27871,"LT",11,26,"W","Underground","Village of Sherwood","Check depth","No"]
[14,"State Park Rd. North","STH 114",27802,"-",28228,"LT",45,56,"FO","Underground","TDS","Check Depth","Partial"]
[15,"State Park Rd. North","STH 114",27802,"-",28228,"LT",45,55,"T","Underground","TDS","Check Depth","Partial"]
[16,"State Park Rd. North","STH 114",27813,"-",27978,"LT",12,38,"T","Underground","TDS","Check Depth","Partial"]
[17,"State Park Rd. North","STH 114",27816,"-",27824,"LT",12,66,"G","Underground","WE Energies-Gas","Check Depth","No"]
[18,"State Park Rd. North","STH 114",28053,"-",null,"LT",45,null,"G","Valve","WE Energies-Gas","Gas Valve, In Grading","Yes"]
[19,"State Park Rd. North","STH 114",27979,"-",28080,"LT",38,52,"T","Underground","TDS","Check Depth","Partial"]
[20,"State Park Rd. North","STH 114",27980,"-",null,"LT",39,null,"T","Pedestool","TDS","In Grading","No"]
[21,"State Park Rd. North","STH 114",28087,"-",28080,"LT",12,52,"E","Underground","WE Energies-Electric","Check Depth","Partial"]
[22,"State Park Rd. North","STH 114",28090,"-",28085,"LT",12,52,"TV","Underground","Spectrum","Check Depth","Partial"]
[23,"Pigeon Rd.","STH 114",30535,"-",null,"RT",39,null,"E","OH/PP","WE Energies","Power pole just outside SI","No"]
[24,"Pigeon Rd.","Pigeon Rd.",4815,"-",4978,"RT",27,38,"T","Underground","TDS","Check Depth","No"]
[25,"RR Crossing","STH 114",36094,"-",36154,"LT",28,29,"T","Underground","TDS","Check Depth","No"]
[26,"RR Crossing","STH 114",36094,"-",36154,"LT",29,30,"FO","Underground","TDS","Check Depth","No"]
[27,"RR Crossing","STH 114",36094,"-",36108,"RT",30,31,"TV","Underground","Spectrum","Check Depth","No"]
[28,"RR Crossing","STH 114",36136,"-",36147,"LT",37,40,"E","OH/PP","We-Energies-Electric","Power pole and guy just outside SI","No"]
[29,"Castle Dr.","STH 114",39082,"-",39737,"RT",25,null,"W","Underground","Village of Sherwood","Check Depth","No"]
[30,"Castle Dr.","STH 114",39133,"-",null,"RT",27,null,"W","Water Valve","Village of Sherwood","In Grading","No"]
[31,"Castle Dr.","STH 114",39133,"-",null,"RT",23,37,"W","Underground","Village of Sherwood","Check Depth","No"]
[32,"Castle Dr.","STH 114",39335,"-",null,"RT",25,null,"W","Water Valve","Village of Sherwood","In proposed shoulder","No"]
[33,"Castle Dr.","STH 114",39340,"-",null,"RT",37,null,"W","Fire Hydrant","Village of Sherwood","In ditch, includes lateral to main","No"]
[34,"Castle Dr.","STH 114",39626,"-",null,"RT",41,null,"W","Water Valve","Village of Sherwood","In Roadway","No"]
[35,"Castle Dr.","Castle Dr.",7883,"-",7973,"LT",21,24,"W","Underground","Village of Sherwood","Check Depth","No"]
[36,"Castle Dr.","STH 114",39131,"-",39132,"RT",12,37,"G","Underground","We Energies-Gas","Check depth","No"]
[37,"Castle Dr.","STH 114",39216,"-",39495,"RT",12,42,"T","Underground","TDS","Check Depth","On Boundry"]
[38,"Castle Dr.","STH 114",39238,"-",null,"RT",42,null,"TV","Pedestool","Spectrum","In Grading","On Boundry"]
[39,"Castle Dr.","STH 114",39244,"-",null,"RT",42,null,"E","OH/PP","WE Energies-Electric","In Grading","On Boundry"]
[40,"Castle Dr.","STH 114",39250,"-",null,"RT",42,null,"T","Pedestool","TDS","In Grading","On Boundry"]
[41,"Castle Dr.","STH 114",39235,"-",39238,"RT",42,45,"TV","Underground","Spectrum","Check Depth","Yes"]
[42,"Castle Dr.","STH 114",39239,"-",39244,"RT",42,46,"E","Underground","WE Energies-Electric","Check depth","Yes"]
[43,"Castle Dr.","STH 114",39241,"-",39250,"RT",42,46,"T","Underground","TDS","Check Depth","Yes"]
[44,"Castle Dr.","STH 114",39432,"-",39492,"RT",42,50,"T","Underground","TDS","Check Depth","Partial"]
[45,"Castle Dr.","STH 114",39487,"-",39493,"RT",42,53,"TV","Underground","Spectrum","Check Depth","Yes"]
[46,"Castle Dr.","STH 114",39483,"-",null,"RT",43,null,"T","Pedestool","TDS","In Ditch","On boundry"]
[47,"Castle Dr.","STH 114",39483,"-",null,"RT",43,null,"E","OH/PP","WE Energies-Electric","In ditch, Includes guy","On boundry"]
[48,"Castle Dr.","STH 114",39493,"-",39677,"RT",43,43,"TV","Underground","Spectrum","Check Depth, 3 lines","Partial On boundry"]
[49,"Castle Dr.","STH 114",39493,"-",39673,"RT",43,53,"TV","Underground","Spectrum","Check Depth","Partial On boundry"]
[50,"Castle Dr.","STH 114",39493,"-",39620,"RT",35,115,"TV","Underground","Spectrum","Check Depth","Partial On boundry"]
[51,"Castle Dr.","STH 114",39493,"-",39624,"RT",30,115,"TV","Underground","Spectrum","Check Depth","Partial On boundry"]
[52,"Castle Dr.","STH 114",39679,null,null,"RT",12,41,"G","Underground","We Energies-Gas","Check Depth","No"]