{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Sheet1","New Inlet Invert"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":34,"n_cols":11,"rows_kept":34,"cut":false,"hidden":false,"merged":[[3,6,3,7],[3,9,3,10],[3,1,3,2]]}
["I.D. 2150-00-70"]
["STH 100 INLET REPLACEMENTS"]
[]
[null,"Station",null,null,"AsBuilt",null,"Existing",null,null,"Proposed"]
[null,"Current","AsBuilt",null,"Structure #",null,"Structure Type","Cover Type",null,"Structure Type","Cover Type"]
[null,"294+05","131+86",null,"2A",null,35,"X",null,"2.5x2","WM"]
[null,"294+45","131+10",null,"2B",null,35,"X",null,"2.5x2","WM"]
[]
[null,"311+40","148+50",null,"31A",null,34,"W",null,"2x3","H"]
[]
[null,"367+45","204+50?",null,"NO # to 50A",null,null,"NOT SHOWN IN LIST"]
[]
[null,"369+50","206+25",null,"24B",null,34,"W",null,"2x3","H"]
[]
[null,"379+40","216+50",null,"30B",null,34,"W",null,"2x3","H"]
[]
[null,"382+40","219+46",null,"31C",null,34,"W",null,"2x3","H"]
[null,"382+40","219+46",null,"31B",null,34,"W",null,"2x3","H"]
[]
[null,"385+90","223+00",null,"32B",null,34,"W",null,"2x3","H"]
[]
[null,"389+05","226+09",null,"33C",null,34,"W",null,"2x3","H"]
[null,"389+05","226+09",null,"33B",null,34,"W",null,"2x3","H"]
[]
[null,"391+95","229+00",null,"34D",null,34,"W",null,"2x3","H"]
[]
[null,"399+10","236+25",null,"25D",null,34,"W",null,"2x3","H"]
[]
[null,"400+05","237+15",null,"24E",null,34,"W",null,"2x3","H"]
[]
[null,"403+60","240+65",null,"22D",null,31,"W",null,"2.5x2","WM"]
[null,"403+60","240+65",null,"22C",null,31,"W",null,"2.5x2","WM"]
[]
[null,"406+30","243+40",null,"21B",null,35,"W",null,"2.5x2","WM"]

{"sheet":"New Inlet Invert","index":1,"n_rows":34,"n_cols":21,"rows_kept":34,"cut":false,"hidden":false,"merged":[[3,1,3,2],[3,6,3,7],[3,9,3,10],[3,12,3,16],[3,18,3,20]]}
["I.D. 2150-00-70"]
["STH 100 INLET REPLACEMENTS"]
[]
[null,"Station",null,null,"AsBuilt",null,"Existing",null,null,"Proposed",null,null,"existing",null,null,null,null,null,"new"]
[null,"Current","AsBuilt",null,"Structure #",null,"Structure Type","Cover Type",null,"Structure Type","Cover Type",null,null,"invert","invert","length","slope",null,"length","depth","invert"]
[null,"294+05","131+86",null,"2A",null,35,"X",null,"2.5x2","WM",null,"2A - 2",749.59,748.33,56,{"$f":"(N6-O6)/P6*100","v":2.2499999999999836},null,39.08,{"$f":"(Q6*S6)/100","v":0.87929999999999353},{"$f":"ROUND(N6-T6,2)","v":748.71}]
[null,"294+45","131+10",null,"2B",null,35,"X",null,"2.5x2","WM",null,"2D - 2",748.75,748.36,52.2,{"$f":"(N7-O7)/P7*100","v":0.74712643678158297},null,40.9,{"$f":"(Q7*S7)/100","v":0.30557471264366742},{"$f":"ROUND(N7-T7,2)","v":748.44}]
[]
[null,"311+40","148+50",null,"31A",null,34,"W",null,"2x3","H",null,"31A - 31",728,727.21,37,{"$f":"(N9-O9)/P9*100","v":2.1351351351350365},null,44.6,{"$f":"(Q9*S9)/100","v":0.95227027027022626},{"$f":"ROUND(O9+T9,2)","v":728.16}]
[]
[null,"367+45","204+50?",null,"NO # to 50A",null,null,"NOT SHOWN IN LIST",null,null,null,null,"136 - 50A",688.49,687.42,154,{"$f":"(N11-O11)/P11*100","v":0.69480519480522729},null,5,{"$f":"(S11*0.01)","v":0.05},{"$f":"ROUND(N11+T11,2)","v":688.54}]
[]
[null,"371+90","206+25",null,"24B",null,34,"W",null,"2x3","H",null,"24B - 24",676.65,675.96,34.9,{"$f":"(N13-O13)/P13*100","v":1.9770773638966788},null,12.3,{"$f":"(Q13*S13)/100","v":0.2431805157592915},{"$f":"ROUND(N13+T13,2)","v":676.89}]
[]
[null,"379+40","216+50",null,"30B",null,34,"W",null,"2x3","H",null,"30B - 30C",673.54,673.47,31.7,{"$f":"(N15-O15)/P15*100","v":0.2208201892742471},null,9.5,{"$f":"(Q15*S15)/100","v":2.0977917981053477E-2},{"$f":"ROUND(N15-T15,2)","v":673.52}]
[]
[null,"382+40","219+46",null,"31C",null,34,"W",null,"2x3","H",null,null,null,null,null,null,8]
[null,"382+40","219+46",null,"31B",null,34,"W",null,"2x3","H",null,null,null,null,null,null,9]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,10]
[null,"385+90","223+00",null,"32B",null,34,"W",null,"2x3","H",null,null,null,null,null,null,11]
[]
[null,"389+05","226+09",null,"33C",null,34,"W",null,"2x3","H"]
[null,"389+05","226+09",null,"33B",null,34,"W",null,"2x3","H"]
[]
[null,"391+95","229+00",null,"34D",null,34,"W",null,"2x3","H"]
[]
[null,"399+10","236+25",null,"25D",null,34,"W",null,"2x3","H"]
[]
[null,"400+05","237+15",null,"24E",null,34,"W",null,"2x3","H"]
[]
[null,"403+60","240+65",null,"22D",null,31,"W",null,"2.5x2","WM"]
[null,"403+60","240+65",null,"22C",null,31,"W",null,"2.5x2","WM"]
[]
[null,"406+30","243+40",null,"21B",null,35,"W",null,"2.5x2","WM"]