{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":38,"n_cols":17,"rows_kept":38,"cut":false,"hidden":false,"merged":[[3,6,3,7],[3,9,3,10],[3,1,3,2]]}
["I.D. 2150-00-70"]
["STH 100 INLET REPLACEMENTS"]
[]
[null,"Station",null,null,"AsBuilt",null,"Existing",null,null,"Proposed"]
[null,"Current","AsBuilt",null,"Structure #",null,"Structure Type","Cover Type",null,"Structure Type","Cover Type",null,"New/Replacement Inlet Sizes","AsBuilt Used",null,null,"Note:"]
[null,"294+05","131+86",null,"2A",null,34,"X",null,"2.5x2","WM",null,"Inlets 2.5x3-FT",1969,null,null,"Type 35 = 2x2.5-FT"]
[null,"294+45","131+10",null,"2B",null,34,"X",null,"2.5x2","WM",null,"Inlets 2.5x3-FT",1969,null,null,"Type 34 = 2.5x3-FT"]
[]
[null,"311+40","148+50",null,"8B",null,34,"W",null,"2x3","H"]
[null,"311+40","148+50",null,"31A",null,34,"W",null,"2x3","H",null,"Inlets 2.5x3-FT",1969]
[]
[null,"367+45","204+54",null,"NO # to 50A",null,35,"W",null,null,null,null,"Inlets 2x2.5-FT",1969]
[]
[null,"369+50","206+25",null,"24B",null,34,"W",null,"2x3","H"]
[]
[null,"372+00","209+00",null,"25B",null,34,"W",null,"Inlets 2.5x3-FT","H",null,"Inlets 2.5x3-FT",1969]
[]
[null,"379+40","216+50",null,"30B",null,34,"W",null,"2x3","H",null,"Inlets 2.5x3-FT",1969]
[]
[null,"382+40","219+46",null,"31C",null,34,"W",null,"2x3","H",null,"Inlets 2.5x3-FT",1969]
[null,"382+40","219+46",null,"31B",null,34,"W",null,"2x3","H",null,"Inlets 2.5x3-FT",1969]
[]
[null,"385+90","223+00",null,"32B",null,34,"W",null,"2x3","H",null,"Inlets 2.5x3-FT",1969]
[]
[null,"389+05","226+09",null,"33C",null,34,"W",null,"2x3","H",null,"Inlets 2.5x3-FT",1969]
[null,"389+05","226+09",null,"33B",null,34,"W",null,"2x3","H",null,"Inlets 2.5x3-FT",1969]
[]
[null,"391+95","229+00",null,"34C",null,35,"W",null,null,null,null,"Inlets 2x2.5-FT",1969]
[null,"391+95","229+00",null,"34D",null,34,"W",null,"2x3","H",null,"Inlets 2.5x3-FT",1969]
[]
[null,"399+10","236+25",null,"25D",null,35,"W",null,"2x3","H",null,"Inlets 2x2.5-FT",1969]
[]
[null,"400+05","237+15",null,"24E",null,34,"W",null,"2x3","H",null,"Inlets 2.5x3-FT",1969]
[]
[null,"403+60","240+65",null,"22D",null,31,"W",null,"2.5x2","WM",null,"Inlets 4-FT",1969]
[null,"403+60","240+65",null,"22C",null,31,"W",null,"2.5x2","WM",null,"Inlets 4-FT",1969]
[]
[null,"406+30","243+40",null,"21C",null,35,"W",null,"2.5x2","WM",null,"Inlets 2x2.5-FT",1969]