Communication Hut Alarm Procedure

iNOC monitors STOC hut locations in the field using intrusion and environmental alarms.  Following is the procedure to follow should you receive a call notifying us that an alarm has been triggered.

Intrusion Alarms

All huts are equipped with intrusion alarms that will trip when entered.  The phone number for iNOC will be posted on the door to all huts requesting that authorized personnel contact iNOC before entering.  Should a hut alarm be triggered without a call being received, the following actions will be taken.

In Milwaukee County

iNOC will notify the Milwaukee County Sheriff and the STOC control room of the intrusion.  No further action is needed by control room staff unless requested by iNOC or the County Sheriff.  Milwaukee County Sheriff will investigate the intrusion.

Outside Milwaukee County

iNOC will notify the Wisconsin State Patrol and the STOC control room of the intrusion.  No further action is needed by control room staff unless requested by iNOC or the State Patrol.  Wisconsin State Patrol will investigate the intrusion.

Tower Bridge (Green Bay)

If an intrusion alarm is activated at the Tower Bridge location in Green Bay, iNOC will notify the STOC control room, Brown County Sheriff’s Department, and Green Bay Police Department.  No further action is needed by control room staff unless requested by iNOC, Brown County Sheriff, or Green Bay Police.

Environmental Alarms

All huts will be monitored for high and low temperature and possibly other environmental problems.  Should an environmental alarm be received, iNOC will notify the STOC control room.

In South East Wisconsin (Huts 1, 2, 4, 5, 6)

iNOC will notify the STOC Control Room when an environmental alarm is received.  STOC staff must then contact TAPCO to schedule maintenance.  Environmental alerts should generally be considered as high priority events requiring immediate attention.

The following are locations of DOT communication huts:

| Hut # | Location |
| --- | --- |
| Hut 1 | 5th Street and Clybourn |
| Hut 2 | 20th Street at I-894 |
| Hut 4 | 108th Street entrance ramp at I-43 northbound |
| Hut 5 | Bluemound Road at US-45 (97th Street) |
| Hut 6 | Good Hope Road at US-45 |

All Other Locations

iNOC will notify the STOC Control Room when an environmental alarm is received.  iNOC will also schedule and dispatch a technician for maintenance to resolve the issue.  Follow up will take place through the standard maintenance procedure.

| Agency | Phone Number |
| --- | --- |
| TAPCO | 262-814-7000 |
| iNOC | 888-234-6858 |
| Milwaukee County Sheriff | 414-278-4788 |
| Brown County Sheriff | 920-448-4210 |
| Green Bay Police Department | 920-448-3191 |