Control Room Operator COOP Actions

This document will detail the steps a non-normal business hours operator will take in the event of a COOP scenario.  There are two possible evacuation scenarios: STOC relocates with power & STOC relocates without power.

The following steps hold true for either scenario listed above.  In the first scenario, power to the STOC is still intact, thus the Computer Room is fully functional.  With this in mind, all of the STOC core functions are operational.  In the second scenario, if the power is no longer on at the STOC, none of the Core or Non-Core functions of the STOC will be operational.

The steps an operator needs to take are as follows:

- Grab the COOP Grab Bag and head for the first alternate site

  - Every attempt should be made to grab the COOP Grab Bag before an operator(s) heads out the door, but in a life or death situation, leave the bag and head for safety as quickly as possible.

- Forward phones to emergency backup numbers

  - SE Region Barstow cubicle #: 262-521-4409

  - Two number sets will need forwarding: The 800 SINS number and the Control Room Work Station (WS) numbers.

    - The SINS number has the ability to be forwarded to another number from outside the STOC.  The number to forward the phone is being determined at this time.

    - The WS numbers (ISDN lines) can also be forwarded outside the STOC.  The alternate location needs to have an ISDN line, however, in order for this to take place.

  - It may not be possible for this process to take place before leaving the STOC, due to potentially catastrophic event.  In this case, go straight to step three (3.)  The forwarding of the phones would take place once a safe distance from the STOC.

- Initiate IT response (call the following people, until someone is reached)

  - Mike Stalter: H: 262-268-7598, C: 414-750-1452

  - Andy Plamann: C: 920-723-8755

- Call the following people / entities (potentially on the way to the backup location) and alert of them situation:

  - STOC Supervisor, Paul Keltner:  H: 414-967-0192, C: 414-313-3045

  - Lt. David Fish, WI State Patrol: C: 414-232-8780

  - Control Room Manager, Scott Nauman: C: 414-897-2900

  - Milwaukee County Sheriff’s Office (MCSO):  414-278-4788

  - Division of State Patrol (DSP), Waukesha Post:  262-548-4711

  - TSCC – Crime Information Bureau Control Room:  608-266-7633

    - Alert them to transfer all STOC administrative teletype bulletins to the DSP Waukesha Post.  Our PSN is 7587

- At Barstow:

  - Transfer phones (If not already done) to the Barstow Cubicle #: 262-521-4409

  - Start up the Barstow STOC Work Station

  - Open the Transcore Transuite (ATMS Map, Event Manager, TIS, etc….) Teleste, and an internet browser to startup 511 floodgate usage & to use internet email (Microsoft Outlook is not accessible as the Barstow STOC Work Station is on the ATMS network, not the DOT network.) https://mail.wisconsin.gov.  Depending on the incident (Computer Room doesn’t have power) these programs may or may not be functioning.

  - Record 511 floodgates about system outages.

  - Email DSP dispatch (statewide) to alert of situation

Use the following Outlook distribution lists:

| NE Region | DOT DL DSP D3 PCOs | DOT DL DSP D3 Supervisors |
| --- | --- | --- |
| NC Region | DOT DL DSP D4 PCOs | DOT DL DSP D4 Supervisors |
| NW Region | DOT DL DSP D6 PCOs - Eau Claire | DOT DL DSP D6 Supervisors - Eau Claire |
|  | DOT DL DSP D7 PCOs - Spooner | DOT DL DSP D7 Supervisors - Spooner |
| SE Region | DOT DL DSP D2 PCOs | DOT DL DSP D2 Supervisors |
| SW Region | DOT DL DSP D1 PCOs - Deforest | DOT DL DSP D1 Supervisors - Deforest |
|  | DOT DL DSP D5 PCOs - Tomah | DOT DL DSP D5 Supervisors – Tomah |

- Call CB Richard Ellis (the Multimodal Station maintenance company): 414-359-1900

  - Alert them of the situation only.