DESIGN CONSULTANT PERFORMANCE EVALUATION REPORT

| Project I.D. 1111-05-31 | Structure: B-13-288 |
| --- | --- |
| Highway: CTH V over STH 151 | County: Dane |
| Project Name: Sun Prairie – Beaver Dam |  |
| Region Contact: Chris Hodges | Region: Southwest |
| Consultant: Westbrook Associated Engineers, Inc - Aaron Palmer |  |

Type of Structure:		Stream Crossing	                     Grade Separation		Retaining Wall

X		Rehabilitation			Other

Average Rating	 	2.9

1 = Unacceptable Performance         2= Below Average         3 = Satisfactory

4 = Above Average Performance          5 = Outstanding

(See rating system in FDM 8-25-5)

Preliminary Submittal                              Reviewer:  Bill Hove	Date:    10/22/15

Hours:     0.75

3

1.	Completeness and clearness Preliminary plan submittal

N/A

2.	Hydrologic and Hydraulic Calculations

3

3.	Preliminary Structure selection

2.5

4.	Preliminary Plan details and Engineering

3

5.	Plans submitted with sufficient lead-time for review

Preliminary Submittal Comments:

An elevation view is required for paint projects per WBM 6.3.3.6, please include with final plans.  Typical cross section should be shown looking up station per WBM 6.3.2.  Check with Region to determine if they would like to include repairing/resealing the existing slope paving with this project.  Additional comments as noted on plan.